**Mantalongon National High School**

Mantalongon, Dalaguete, Cebu

[www.mantalongonnhs.weebly.com](http://www.mantalongonnhs.weebly.com)

mantalongon\_nhs@dalaguete@yahoo.com

**INSPECTION REPORTS**

Name of Project: New Electrical Meter & Electrical Installations at the Main Campus

Locations: Main campus

Source of Funds: MOOE

Scope of Work: Provide enough allocation for the new and a separate electrical meter and electrical installations at the main campus.

**FINDINGS**

1. The Mantalongon NHS has two existing campuses; the Main and the Campakas Annex ;
2. The electrical meter has been installed in the 2 storey-6 classroom DepEd building which is definitely the only building separately built by more or less 60 meter distance from the buildings in the main campus;
3. The present electrical connection in the main buildings is only a service drop extension from the said DepEd building. And apparently, this results to overloading of consumable voltage during school days.
4. It is advisable for the school to have a new and a separate electrical meter intended for the main buildings to prevent short-circuits that may cause a large current flow which may result to undesired fire in the classrooms.

**Recommendation**

 Provide enough allocation to purchase needed electrical materials for a new and a separate electrical meter and loads installations at the main buildings.

 *Inspected by:*

 **ANDRESA Z. MIRASOL, M.A.ED.**

 *Chairman, Inspection Committee*

 **ROLDAN C. ROSALES, M.ED.**

 *Member*

 **NICOMEDES M. DIBDIB**

 *Member*

*Noted by:*

 **RAMON M. CORTES**

 *Principal 1*

 Ex-officio Member

*george’ 2012*

[*www.georgelumayag.com*](http://www.georgelumayag.com)