**[http://www.depedcebu.ph/images/deped.jpg](http://www.depedcebu.ph/memo)Mantalongon National High School**

Mantalongon, Dalaguete, Cebu

[www.mantalongonnhs.weebly.com](http://www.mantalongonnhs.weebly.com)

[mantalongon\_nhs@dalaguete@yahoo.com](mailto:mantalongon_nhs@dalaguete@yahoo.com)

**INSPECTION REPORTS**

Name of Project: Lighting Connection and Replacement of Busted Bulbs in the Classrooms

Locations: Main Campus

Source of Funds: MOOE

Scope of Work: Two (2) bulbs are to be separately installed outside and some are to be replaced of the busted bulbs inside the classrooms.

**FINDINGS**

1. The main campus has Pres. F. V. Ramos, Dalaguete Municipal, and GWEN buildings strategically constructed but with only a meter-distance to each edifice that few of which have no lightings installed outside; and some classrooms have busted bulbs.
2. Only 2 bulb lighting-connection was installed in 6 buildings which is not an ideal for security and safety of the public property.

**Recommendation**

Provide these buildings with additional bulb lighting-connections; and replace those busted with new bulbs.

*Inspected by:*

**ANDRESA Z. MIRASOL**

*Chairman, Inspection Committee*

**ROLDAN C. ROSALES**

*Member*

**NICOMEDES M. DIBDIB**

*Member*

*Noted by:*

**RAMON M. CORTES**

*Principal 1*

Ex-officio Member

*gpl’2012*