Mantalongon National High School

Mantalongon, Dalaguete, Cebu

mantalongon\_nhs@dalaguete@yahoo.com

**INSPECTION REPORTS**

Name of Project: Concreting of a Pathway of the DepEd Building (back portion)

Locations: Campakas Annex Campus

Source of Funds: MOOE

Scope of Work: Concreting of the DepEd building pathway (back portion) underneath the two-meter riprap

**FINDINGS**

1. Since the DepEd building constructed so near and underneath the slope land area of the Campakas Annex Campus, a stone riprap project was made last year; however, the pathway is very muddy during rainy days;
2. The said muddy pathway would serve as a catch-basin of a mass of water flowing from the two-meter slope of the said campus.

**Recommendation**

 Provide immediate concreting of the said pathway of the DepEd building.

 *Inspected by:*

 **ANDRESA Z. MIRASOL**

 *Chairman, Inspection Committee*

 **ROLDAN C. ROSALES**

 *Member*

 **NICOMEDES M. DIBDIB**

 *Member*

*Noted by:*

 **RAMON M. CORTES**

 *Principal 1*

 Ex-officio Member

*gpl’2012*