[http://www.depedcebu.ph/images/deped.jpg](http://www.depedcebu.ph/memo)Mantalongon National High School

Mantalongon, Dalaguete, Cebu

[mantalongon\_nhs@dalaguete@yahoo.com](mailto:mantalongon_nhs@dalaguete@yahoo.com)

**INSPECTION REPORTS**

Name of Project: Concreting of Pathways from F. V. Ramos Building towards the Comfort Rooms

Locations: Main Campus

Source of Funds: MOOE

Scope of Work: Concreting of pathways from F. V. Ramos building towards the Comfort Rooms

**FINDINGS**

1. Since the F. V. Ramos building has no gutters and down spouts, the pathways are very muddy during rainy days;
2. Eroded sidewalks and walkways are definitely the causes of columns, walls and beam cracks of the said building.

**Recommendation**

Provide concrete pathways or sidewalks from F. V. Ramos building towards the comfort rooms.

*Inspected by:*

**ANDRESA Z. MIRASOL**

*Chairman, Inspection Committee*

**ROLDAN C. ROSALES**

*Member*

**NICOMEDES M. DIBDIB**

*Member*

*Noted by:*

**RAMON M. CORTES**

*Principal 1*

Ex-officio Member

*gpl’2012*