Mantalongon National High School

Mantalongon, Dalaguete, Cebu

mantalongon\_nhs@dalaguete@yahoo.com

**INSPECTION REPORTS**

Name of Project: Phase II Science Lab Lobby & Pathways’ Concreting

Locations: Main Campus

Source of Funds: MOOE

Scope of Work: Concreting of the Lobby and Pathways of the Science Laboratory

**FINDINGS**

1. The one classroom-building Science Laboratory is a municipal building which is five meter distance northwest of Gate 1 of the Main Campus.
2. The laboratory lobby area is muddy when it rains.
3. Moreover, the wet lobby and pathways during rain showers are also considered problems of students and teachers in going to the lab.

**Recommendations**

 Provide the Science Laboratory enough allocation from the MOOE for a project in concreting its lobby and pathways.

 *Inspected by:*

 **ANDRESA Z. MIRASOL**

 *Chairman, Inspection Committee*

 **ROLDAN C. ROSALES**

 *Member*

 **NICOMEDES M. DIBDIB**

 *Member*

*Noted by:*

 **RAMON M. CORTES**

 *Principal 1*

 Ex-officio Member

*gpl’2011*