[http://www.depedcebu.ph/images/deped.jpg](http://www.depedcebu.ph/memo)Mantalongon National High School

Mantalongon, Dalaguete, Cebu

[mantalongon\_nhs@dalaguete@yahoo.com](mailto:mantalongon_nhs@dalaguete@yahoo.com)

**INSPECTION REPORTS**

Name of Project: Repair and Installation of Gutter Down Spouts of Pres. F. V. Ramos Buildings

Locations: Main Campus

Source of Funds: MOOE

Scope of Work: Provide repair and installation of Gutter Down Spout of the Pres. F. V. Ramos bldgs.

**FINDINGS**

1. Pres. F. V. Ramos buildings have now gutters and its gutter down spouts;
2. The said building post foundations are gradually damaged that would result to some cracks due to the lack of gutters and its down spouts.

**Recommendations**

Provide immediate repair and installation of gutter and its gutter down spouts of the Pres. F. V. Ramos buildings.

*Inspected by:*

**ANDRESA Z. MIRASOL**

*Chairman, Inspection Committee*

**ROLDAN C. ROSALES**

*Member*

**NICOMEDES M. DIBDIB**

*Member*

*Noted by:*

**RAMON M. CORTES**

*Principal 1*

Ex-officio Member

*gpl’2012*