Mantalongon National High School

Mantalongon, Dalaguete, Cebu

mantalongon\_nhs@dalaguete@yahoo.com

**INSPECTION REPORTS**

Name of Project: Repair and Installation of Gutter Down Spouts of Pres. F. V. Ramos Buildings

Locations: Main Campus

Source of Funds: MOOE

Scope of Work: Provide repair and installation of Gutter Down Spout of the Pres. F. V. Ramos bldgs.

**FINDINGS**

1. Pres. F. V. Ramos buildings have now gutters and its gutter down spouts;
2. The said building post foundations are gradually damaged that would result to some cracks due to the lack of gutters and its down spouts.

**Recommendations**

 Provide immediate repair and installation of gutter and its gutter down spouts of the Pres. F. V. Ramos buildings.

 *Inspected by:*

 **ANDRESA Z. MIRASOL**

 *Chairman, Inspection Committee*

 **ROLDAN C. ROSALES**

 *Member*

 **NICOMEDES M. DIBDIB**

 *Member*

*Noted by:*

 **RAMON M. CORTES**

 *Principal 1*

 Ex-officio Member

*gpl’2012*